Water Hygiene Log Book

Six Monthly Water Storage Tank Inspection and Temperature Monitoring Record

| DATE | ASSET No / LOCATION | MAINS TEMPERATURE (FROM BALL VALVE °C) | STORED WATER TEMPERATURE (REMOTE FROM THE BALL VALVE °C) | LID CONDITION (GOOD / POOR) | LID VENT CONDITION (GOOD / POOR) | VERMIN SCREEN CONDITION (GOOD / POOR) | OVERFLOW CONDITION (GOOD / POOR) | INSULATION CONDITION (GOOD / POOR) | CLEANLINESS (PASS / FAIL) | DEFECT REPORT ISSUE NO. | ENGINEER SIGNATURE |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |